| City of South Portland, Maine Cover Sheet for Annual Stormwater BMP Inspection |  |  |  |  |
| --- | --- | --- | --- | --- |
| The Stormwater Management Performance Standards (Section 27-1536) for the City of South Portland, ME require ongoing annual inspections to ensure the proper maintenance and operation of stormwater management facilities. Inspections must be conducted by third parties qualified by the City. Completed inspection reports must be submitted to the Water Resource Protection Director by July 15th of each year. |  |  |  |  |
| A. General Information |  |  |  |  |
| Use only one Cover Sheet per site with as many specific structural BMP Inspection Report attachments as needed. Attach required color digital photos of site, structures and devices as applicable with captions. |  |  |  |  |
| Project Name: |  | Inspection Date: |  |  |
| Parcel Map/Lot: |  | Current Weather: |  |  |
| BMP Owner: |  | Date / Amount Last Precip: |  |  |
| Owner Mailing Address: |  | 3PI Company: |  |  |
|  |  | 3PI Mailing Address: |  |  |
| Owner Phone #: |  |  |  |  |
| Owner Email: |  | Inspector Name: |  |  |
|  |  | Inspector Phone #: |  |  |
|  |  | Inspector Email: |  |  |
| B. Inspection Report Attachments |  |  |  |  |
| Please document the number of each structural BMP type found at this site in the blank spaces provided below. Use additional Attachments if / as needed and submit all Attachments together with the Cover Sheet as a single report. |  |  |  |  |
| BMP Type |  |  |  | Number BMPs at site |
| Vegetated Area |  |  |  |  |
| Stormwater Channel |  |  |  |  |
| Culvert |  |  |  |  |
| Catch Basin System |  |  |  |  |
| Roadway or Parking Surface |  |  |  |  |
| Buffer |  |  |  |  |
| Stormwater Detention & Retention Facility |  |  |  |  |
| Runoff Infiltration Facility |  |  |  |  |
| Proprietary Treatment Device |  |  |  |  |
| Other (describe) |  |  |  |  |
| C. Inspection Results |  |  |  |  |
| FAIL**. |  |  |  |  |
| ** If any one item on an Inspection Report attachment is coded as "Work Needed" then entire BMP fails inspection. |  |  |  |  |
| ** If a site has multiple BMPs and one fails inspection, mark as "Fail" until all BMPs pass inspection. |  |  |  |  |
| Note: Applicable BMP Inspection Reports and confirmatory color digital photos summarizing required repairs must be submitted to the City following completion of the preliminary inspection. A re-inspection and certification must be completed within 60 days of the failed preliminary report. It is recommended that the inspector be part of the repair / maintenance process to ensure that repairs are performed properly. |  |  |  |  |
| PASS. |  |  |  |  |
| Note: a qualified professional (as determined by the City) must sign below and include all applicable Inspection Report attachments and confirmatory digital color photos with captions. |  |  |  |  |
| D. Professional Certification (as qualified by City of South Portland Stormwater Program Coordinator). To be completed only when all BMPs at this site are functioning as designed with no outstanding maintenance issues.. I, ______________________________, as a duly qualified third party inspector in the City of South Portland, ME attest that a thorough inspection has been completed for ALL applicable BMPs that are associated with this particular site. All inspected structural BMPs are performing as designed and intended and are in compliance with the provisions of the City of South Portland's Stormwater Performance Standards (27-1536).. Signature:; ______________________________. Date:; ______________________________. Form Adapted from Town of Apex, North Carolina's Annual Structural BMP Inspection Report Cover Sheet. |

| Owner: | Operator: |  |
| --- | --- | --- |
| Location & Parcel Id: | Inspector: |  |
| BMP ID (to be assigned by City of South Portland): | Date: |  |
| General Information | Observations |  |
| Inspection duration (hours) |  |  |
| Days since last precipitation |  |  |
| Quantity of last precipitation (in) |  |  |
| Type of inspection |  |  |
| Storm event |  |  |
| Current weather |  |  |
| Photos taken | ☐ Yes ☐ No ☐ NA |  |
| Nearby natural resources | ☐ Yes ☐ No ☐ NA |  |
| Copy of ESC plan | ☐ Yes ☐ No ☐ NA |  |
| MEDEP Permit # (if applicable) |  |  |
| General info notes |  |  |
| Vegetated Areas | Observations |  |
| Condition of slopes and embankment is good | ☐ Yes ☐ No ☐ NA |  |
| No bare areas (< 90% covered) with sparse growth | ☐ Yes ☐ No ☐ NA |  |
| Armored areas have no rill erosion or the flow diverted to onsite areas can withstand concentrated flows | ☐ Yes ☐ No ☐ NA |  |
| Vegetated area notes |  |  |
| Stormwater Channels | Observations |  |
| Condition of ditches, swales, & other stormwater channels good | ☐ Yes ☐ No ☐ NA |  |
| No obstructions, accumulated sediments or debris | ☐ Yes ☐ No ☐ NA |  |
| Vegetated growth and woody vegetation controlled | ☐ Yes ☐ No ☐ NA |  |
| Erosion of any ditch lining repaired | ☐ Yes ☐ No ☐ NA |  |
| Vegetated ditches have been mowed | ☐ Yes ☐ No ☐ NA |  |
| Woody vegetation growing through riprap has been removed | ☐ Yes ☐ No ☐ NA |  |
| Riprap has been replaced where underlying filter fabric or underdrain gravel is showing or where stones have dislodged | ☐ Yes ☐ No ☐ NA |  |
| Stormwater channel notes |  |  |
| Culverts | Observations |  |
| Accumulated sediments and debris at the inlet, outlet, and within the conduit have been removed | ☐ Yes ☐ No ☐ NA |  |
| Erosion damage at the inlet and outlet have been repaired | ☐ Yes ☐ No ☐ NA |  |
| Culvert notes |  |  |
| Catch Basin Systems | Observations |  |
| Accumulated sediments from inflow channels and pipes between basins have been removed and legally disposed of | ☐ Yes ☐ No ☐ NA |  |
| Floating debris and floating oils have been removed from any baffle or grease trap | ☐ Yes ☐ No ☐ NA |  |
| Catch basin system notes |  |  |
| Roadway and Parking Surfaces | Observations |  |
| Accumulated winter sand in parking lot and along roadways have been cleared | ☐ Yes ☐ No ☐ NA |  |
| Pavement is swept to help remove sediment | ☐ Yes ☐ No ☐ NA |  |
| Road shoulders and excess sand have been graded | ☐ Yes ☐ No ☐ NA |  |
| Gravel roads and road shoulders have been graded | ☐ Yes ☐ No ☐ NA |  |
| No stormwater is impeded by accumulations of material or false ditches in the shoulder | ☐ Yes ☐ No ☐ NA |  |
| Roadway and parking surface notes |  |  |
| Buffers | Observations |  |
| Treatment buffers have been inspected for evidence of erosion, concentrated flow, or encroachment by development | ☐ Yes ☐ No ☐ NA |  |
| Buffer vegetation has been managed per requirements of all deed restrictions and/or maintenance agreements | ☐ Yes ☐ No ☐ NA |  |
| Vegetation in all non-wooded buffers has been mowed no shorter than 6 inches and less than three times per year | ☐ Yes ☐ No ☐ NA |  |
| The sown-slope of all spreaders and turn-outs for erosion have been inspected and repaired | ☐ Yes ☐ No ☐ NA |  |
| More level spreaders or ditch turn-outs have been installed for better distribution of flow | ☐ Yes ☐ No ☐ NA |  |
| Sediment has been cleaned from within all spreader bays or turnout pools | ☐ Yes ☐ No ☐ NA |  |
| Buffer notes |  |  |
| Stormwater Detention and Retention Facilities | Observations |  |
| Embankments have been inspected for settlement, slope erosion, internal piping, and downstream swamping | ☐ Yes ☐ No ☐ NA |  |
| Embankments have been mowed to control woody vegetation | ☐ Yes ☐ No ☐ NA |  |
| The outlet control structure has been inspected for broken seals, obstructed orifices, and plugged trash racks | ☐ Yes ☐ No ☐ NA |  |
| Sediment and debris within the control structure have been removed and legally disposed of | ☐ Yes ☐ No ☐ NA |  |
| Any damage to the trash racks or debris guards has been repaired | ☐ Yes ☐ No ☐ NA |  |
| Vegetated spillways have been mowed to control woody vegetation and replace any dislodged stone in riprap spillways | ☐ Yes ☐ No ☐ NA |  |
| Accumulated sediments within the impoundment and forebay have been removed and legally disposed of | ☐ Yes ☐ No ☐ NA |  |
| Stormwater detention and retention facility notes |  |  |
| Runoff Infiltration Facilities | Observations |  |
| Any pretreatment measures that collected sediment and hydrocarbons entering an infiltration system have been inspected and cleaned out | ☐ Yes ☐ No ☐ NA |  |
| Accumulated sediments within the infiltration area have been removed and legally disposed of | ☐ Yes ☐ No ☐ NA |  |
| The infiltration system has been renewed if it fails to drain within 72 hours after a rainfall of one-half inch or more | ☐ Yes ☐ No ☐ NA |  |
| The soil of vegetated infiltration basins has been tilled and replanted | ☐ Yes ☐ No ☐ NA |  |
| Rock-lined basins or stone-filled trenches have been reconstructed by removing stones, replacing underlying filter fabric, and tiling or removing the underlying wall | ☐ Yes ☐ No ☐ NA |  |
| Runoff infiltration facilities notes |  |  |
| Proprietary Treatment Devices | Observations |  |
| A third party has been contracted with for the removal of accumulated sediments, oils, and debris within the device and replacement of any absorptive filters | ☐ Yes ☐ No ☐ NA |  |
| Proprietary device notes |  |  |
| Other Comments | Observations |  |
| Corrective action needed | ☐ Yes ☐ No ☐ NA |  |
| If corrective action in needed, please explain detail |  |  |
| Verbal notification provided to responsible party |  | ☐ Yes ☐ No |
| Verbal notification contact |  |  |
| Follow up required |  | ☐ Yes ☐ No |
| Final comment notes |  |  |

Photos (use additional pages as needed)

Review Notes (to be completed by City of South Portland)

Date Reviewed: Reviewed by: Date entered: Date edited: Edited by: